## Slide 1
Well assembled breadboard

## Slide 2
SERIES mode
CH1 Voltage
Switch
CH2 Voltage
Switch
CH1 Output
CH2 Output
Power Switch
Output Switch
DC Current Mode
DC Voltage Mode
Ohm Mode
Multimeter Inputs
Power Source and Multimeter

## Slide 3
Multimeter reading: CH1(+) – CH2(-)=(+15V) – (-15V) = 30V
Example 1: Testing the connection of power source, and multimeter

## Slide 4
Multimeter reading: CH1(-) – CH1(+) = (0V) – (+15V) = -15V
* Yellow hat is connected to the white wire
CH1(+) = 15V
CH2(-) = -15V
CH1(-) = 0V
Example 2: Testing the connection of power source, breadboard, and multimeter

## Slide 5
Multimeter reading: CH2(-) – CH1(+) = (-15V) – (+15V) = -30V
* Yellow hat is connected to the white wire
CH1(+) = 15V
CH2(-) = -15V
CH1(-) = 0V
Example 3: Testing the connection of power source, breadboard, and multimeter

## Slide 6
Lead 1
Lead 2
Lead 3
Comments:
If lead 1 and 3 are connected to circuit, potentiometer is always connected with full range
If lead 1 (or 3) and 2 are connected, potentiometer is connected with varying resistance
Example 4: Measuring the resistance of a potentiometer